[image: image1.wmf][image: image2.wmf]
[image: image3.png]


firing range facility AND

equipment requirements
Incorporated by Reference in Rule 11B-21.005, F.A.C.


	     
	     
	     

	TRAINING SCHOOL
	REVIEWER
	DATE and TIME


Location:       

Rule 11B-21.005, F.A.C., requires that a Commission-certified training school, conducting CJSTC firearms training for basic recruit or instructor students, shall comply with the following specifications:
	1.      

	The range shall have a bullet impact backstop that will stop and render harmless, bullets fired into it from firearms from the firing positions at the firing line, without ricocheting projectiles or debris, or striking individuals at the firing line.



	2.      

	The range shall have a minimum of five firing positions with one target for each firing position.  Range targets shall be placed at least 24 inches from the scoring edge to the scoring edge facing the shooters.



	3.      

	The range shall have an observation position for the range master for indoor and outdoor range facilities that allow simultaneous unrestricted view of all firing positions and all areas within the confines of the impact area.



	4.      

	The range shall have warning signs posted at all access points to the firing range that clearly identify the areas as a criminal justice firing range.



	5.      

	The range shall have an operational public address system that is capable of transmitting instructions to all areas of the range to allow shooters on the firing line or in the firing booth to hear commands while firing with ear protectors in place.



	6.      

	The range cover used for firing shall be permanently affixed, or is a portable construction with a base affixed to the ground, or is securely braced to ensure the shooter’s safety.



	7.      

	The range shall provide adequate lighting to allow shooters to clearly see the targets from all firing positions and to allow the range caller to clearly see all firing positions and targets.



	8.      

	Firearm ranges used for practical exercises shall be equipped with a first aid kit.  The first aid kit shall be located at the facility when basic recruit students are actively engaged in practical exercises or CJSTC training is in session and shall be immediately accessible to instructors and students.  



	
	The first aid kit shall include at a minimum the following supplies:

	
	Adhesive bandages, 1” or 2” (1 box)

Adhesive tape (1 roll)

Bandage compresses, 4” (1)

Biohazard bag (1)

Cold packs/plastic bags and ice (3-5)

CPR mask with one-way valve (1)
Emergency blanket (1)
Eye-dressing kit (1)

Flashlight (1)

Gauze bandage roll, any size (1)

Occlusive dressings (2)

Pressure bandages/dressings (2)

Protective gloves, varying sizes
Sterile eyewash
Tourniquets, commercial (2)

Trauma shears (1)

Triangular bandages (2)

Wound packing, rolled, or hemostatic 

     gauze

Writing instrument (e.g., pen, marker)



	9.      

	The range and associated equipment shall be maintained in proper working order to ensure safety of the shooters and instructors.  Indoor ranges shall comply with the manufacturer’s specifications for operational safety.



	10.      

	The range shall have accessible drinking water, a restroom, and a rain-resistant shelter for all personnel engaged in training on the range.



	11.      

	The range shall have telephone or radio communication immediately available to instructors.



	12.      

	Access to the range shall be restricted to criminal justice trainees, criminal justice instructors, Commission staff, and personnel authorized by the training center director when firearms training is being conducted.  The range must have warning signs posted.



	13.      

	All personnel shall wear ear and eye protection while a student is actively engaged in a shooting exercise.




In Compliance     FORMCHECKBOX 

Non-Compliance     FORMCHECKBOX 

Corrected on Site by the Field Specialist     FORMCHECKBOX 

Rule Violation:       
, F.A.C.
Comments:       

     


     


     


     


     


     


     





     


Field Specialist’s Signature

Date



     


Training Center Director or Coordinator or Instructor Signature

Date
Created 10/1/1993
Original – FDLE
Copy – Training School
1 of 2
Commission-Approved Revisions:  8/14/2025

 Form Effective Date:  5/2026
FORM CJSTC-201

3 of 2

_966773721.doc



